## Comparison
| Scenario 1 |  | Scenario 2 |  | Scenario 3 |  | Scenario 4
| x-direction | y-direction | x-direction | y-direction | x-direction | y-direction | x-direction | y-direction
Mean value μ [cm] | 75.0248 | 91.1058 | 10.9865 | 55.8894 | 5.3684 | 15.8994 | 2.7006 | 13.8261
| total |  | total |  | total |  | total
| 83.07 |  | 33.44 |  | 10.63 |  | 8.26
| x-direction | y-direction | x-direction | y-direction | x-direction | y-direction | x-direction | y-direction
Standard deviation σ [cm] | 109.6617 | 43.1157 | 11.9659 | 41.4816 | 3.9735 | 12.8247 | 2.5756 | 6.3333
| total |  | total |  | total |  | total
| 83.03 |  | 37.8 |  | 10.81 |  | 7.38
Standard uncertainty [cm] | 10.545 |  | 4.8009 |  | 1.3727 |  | 0.93705
Confidence interval [cm] (Confidence level y=95%) | 83.07 ± 21.20 |  | 33.44 ± 9.65 |  | 10.63 ± 2.76 |  | 8.26 ± 1.88

## Scenario 1
Localino |  |  | Lasertracker |  |  | Dif_x | Dif_y
Measuring point | x [cm] | y [cm] | Measuring point | x [cm] | y [cm]
L1001 | -223 | 9 | R1001 | -231.15 | 39.22 | 8.15 | 30.22
L1002 | -233 | 4 | R1002 | -230.35 | 49.01 | 2.65 | 45.01
L1003 | -241 | 2 | R1003 | -230.56 | 58.54 | 10.44 | 56.54
L1004 | -197 | 35 | R1004 | -230.27 | 69.41 | 33.27 | 34.41
L1005 | -223 | -15 | R1005 | -230.72 | 78.93 | 7.72 | 93.93
L1006 | -218 | -7 | R1006 | -230.07 | 88.67 | 12.07 | 95.67
L1007 | -231 | -23 | R1007 | -230.6 | 98.57 | 0.4 | 121.57
L1008 | -250 | -80 | R1008 | -231.05 | 107.96 | 18.95 | 187.96
L1009 | -219 | -81 | R1009 | -220.97 | 108 | 1.97 | 189
L1010 | -213 | -27 | R1010 | -210.68 | 107.17 | 2.32 | 134.17
L1011 | -105 | -12 | R1011 | -200.98 | 107.68 | 95.98 | 119.68
L1012 | 17 | 53 | R1012 | -191.04 | 108.02 | 208.04 | 55.02
L1013 | -127 | -59 | R1013 | -181 | 107.89 | 54 | 166.89
L1014 | 134 | 46 | R1014 | -171.01 | 107.85 | 305.01 | 61.85
L1015 | 229 | 63 | R1015 | -161.4 | 107.51 | 390.4 | 44.51
L1016 | 51 | -14 | R1016 | -151.69 | 107.67 | 202.69 | 121.67
L1017 | -79 | 0 | R1017 | -150.7 | 97.8 | 71.7 | 97.8
L1018 | 187 | 52 | R1018 | -151.44 | 87.83 | 338.44 | 35.83
L1019 | 83 | 28 | R1019 | -151.58 | 78.12 | 234.58 | 50.12
L1020 | -60 | 7 | R1020 | -151.68 | 68.92 | 91.68 | 61.92
L1021 | -118 | -31 | R1021 | -151.9 | 58.55 | 33.9 | 89.55
L1022 | -145 | -75 | R1022 | -150.88 | 49.31 | 5.88 | 124.31
L1023 | -132 | -45 | R1023 | -151.65 | 39.13 | 19.65 | 84.13
L1024 | -122 | -31 | R1024 | -160.49 | 38.45 | 38.49 | 69.45
L1025 | -168 | -52 | R1025 | -170.89 | 38.68 | 2.89 | 90.68
L1026 | -200 | -58 | R1026 | -181.13 | 38.28 | 18.87 | 96.28
L1027 | -162 | -5 | R1027 | -191.38 | 38.55 | 29.38 | 43.55
L1028 | -211 | -74 | R1028 | -201.21 | 38.8 | 9.79 | 112.8
L1029 | -224 | -81 | R1029 | -210.65 | 38.36 | 13.35 | 119.36
L1030 | -223 | -80 | R1030 | -221.47 | 38.48 | 1.53 | 118.48
L1031 | -130 | 6 | R1031 | -191.58 | 77.92 | 61.58 | 71.92
[5 empty] | Mean value | 75.0248 | 91.1058 | cm
|  |  |  | Mean value total |  | 83.0653 |  | cm
|  |  |  | Standard deviation |  | 109.6617 | 43.1157 | cm
|  |  |  | Standard deviation total |  | 83.0315 |  | cm
Number n of measured values |  |  | 62 |  | Messunsicherheit |  | 10.545 | cm
Confidence level |  |  | 95% |  |  |  | 21.1955 | cm
t from table (Papula 2006, S.294) |  |  | 2.01 |  | Confidence intervall |  | 83.07 ± 21.20 | cm

## Scenario 2
Localino |  |  | Lasertracker |  |  | Dif_x | Dif_y
Measuring point | x [cm] | y [cm] | Measuring point | x [cm] | y [cm]
L2001 | -227 | 13 | R2001 | -230.89 | 38.8 | 3.89 | 25.8 | 29.69
L2002 | -263 | 16 | R2002 | -230.65 | 49.04 | 32.35 | 33.04 | 65.39
L2003 | -238 | 3 | R2003 | -230.66 | 58.89 | 7.34 | 55.89 | 63.23
L2004 | -245 | 34 | R2004 | -229.87 | 69.09 | 15.13 | 35.09 | 50.22
L2005 | -237 | 18 | R2005 | -230.91 | 78.73 | 6.09 | 60.73 | 66.82
L2006 | -246 | 40 | R2006 | -230.49 | 88.62 | 15.51 | 48.62 | 64.13
L2007 | -239 | 56 | R2007 | -230.34 | 99.02 | 8.66 | 43.02 | 51.68
L2008 | -242 | -127 | R2008 | -231.08 | 107.77 | 10.92 | 234.77 | 245.69
L2009 | -256 | 61 | R2009 | -220.66 | 109.34 | 35.34 | 48.34 | 83.68
L2010 | -267 | 89 | R2010 | -210.9 | 107.71 | 56.1 | 18.71 | 74.81
L2011 | -223 | 35 | R2011 | -200.75 | 107.96 | 22.25 | 72.96 | 95.21
L2012 | -196 | 71 | R2012 | -190.99 | 107.96 | 5.01 | 36.96 | 41.97
L2013 | -191 | 38 | R2013 | -180.89 | 107.81 | 10.11 | 69.81 | 79.92
L2014 | -176 | 60 | R2014 | -170.53 | 107.72 | 5.47 | 47.72 | 53.19
L2015 | -168 | 84 | R2015 | -160.84 | 108.58 | 7.16 | 24.58 | 31.74
L2016 | -156 | 59 | R2016 | -150.58 | 107.6 | 5.42 | 48.6 | 54.02
L2017 | -158 | 55 | R2017 | -151.02 | 98.02 | 6.98 | 43.02 | 50
L2018 | -154 | 56 | R2018 | -152.05 | 88.36 | 1.95 | 32.36 | 34.31
L2019 | -135 | 69 | R2019 | -151.69 | 78.48 | 16.69 | 9.48 | 26.17
L2020 | -161 | 21 | R2020 | -151.76 | 68.75 | 9.24 | 47.75 | 56.99
L2021 | -154 | 6 | R2021 | -151.8 | 58.54 | 2.2 | 52.54 | 54.74
L2022 | -147 | -6 | R2022 | -151.88 | 49.13 | 4.88 | 55.13 | 60.01
L2023 | -144 | -43 | R2023 | -151.06 | 39.37 | 7.06 | 82.37 | 89.43
L2024 | -157 | -5 | R2024 | -161.24 | 39.08 | 4.24 | 44.08 | 48.32
L2025 | -165 | 15 | R2025 | -170.51 | 38.77 | 5.51 | 23.77 | 29.28
L2026 | -194 | -48 | R2026 | -180.45 | 38.71 | 13.55 | 86.71 | 100.26
L2027 | -190 | -3 | R2027 | -191.51 | 38.16 | 1.51 | 41.16 | 42.67
L2028 | -201 | -16 | R2028 | -200.74 | 38.48 | 0.26 | 54.48 | 54.74
L2029 | -211 | -105 | R2029 | -210.96 | 38.64 | 0.04 | 143.64 | 143.68
L2030 | -220 | -2 | R2030 | -220.69 | 38.79 | 0.69 | 40.79 | 41.48
L2031 | -210 | 8 | R2031 | -190.97 | 78.65 | 19.03 | 70.65 | 89.68
[5 empty] | Mean value | 10.9865 | 55.8894 | cm
|  |  |  | Mean value total |  | 33.4379 |  | cm
|  |  |  | Standard deviation |  | 11.9659 | 41.4816 | cm
|  |  |  | Standard deviation total |  | 37.8022 |  | cm
Number n of measured values |  |  | 62 |  | Messunsicherheit Ges. |  | 4.8009 | cm
Confidence level |  |  | 95% |  |  |  | 9.6498 | cm
t from table (Papula 2006, S.294) |  |  | 2.01 |  | Confidence intervall |  | 33.44 ± 9.65 | cm

## Scenario 3
Localino |  |  | Lasertracker |  |  | Dif_x | Dif_y
Measuring point | x [cm] | y [cm] | Measuring point | x [m] | y [m]
L3001 | -227 | 26 | R3001 | -231.31 | 38.9 | 4.31 | 12.9
L3002 | -227 | 18 | R3002 | -231.34 | 48.62 | 4.34 | 30.62
L3003 | -222 | 72 | R3003 | -230.89 | 58 | 8.89 | 14
L3004 | -226 | 78 | R3004 | -230.67 | 68.49 | 4.67 | 9.51
L3005 | -230 | 48 | R3005 | -230.82 | 77.79 | 0.82 | 29.79
L3006 | -235 | 88 | R3006 | -231.14 | 88.15 | 3.86 | 0.15
L3007 | -234 | 99 | R3007 | -230.36 | 97.51 | 3.64 | 1.49
L3008 | -236 | 101 | R3008 | -231.11 | 107.31 | 4.89 | 6.31
L3009 | -226 | 129 | R3009 | -221.25 | 107.61 | 4.75 | 21.39
L3010 | -211 | 134 | R3010 | -210.59 | 107.8 | 0.41 | 26.2
L3011 | -203 | 116 | R3011 | -201.77 | 107.31 | 1.23 | 8.69
L3012 | -189 | 124 | R3012 | -191.7 | 107.72 | 2.7 | 16.28
L3013 | -179 | 108 | R3013 | -181.32 | 107.42 | 2.32 | 0.58
L3014 | -169 | 104 | R3014 | -171.27 | 108.01 | 2.27 | 4.01
L3015 | -156 | 127 | R3015 | -160.83 | 107.76 | 4.83 | 19.24
L3016 | -145 | 111 | R3016 | -151.63 | 107.46 | 6.63 | 3.54
L3017 | -147 | 103 | R3017 | -150.82 | 98.13 | 3.82 | 4.87
L3018 | -143 | 93 | R3018 | -150.89 | 87.68 | 7.89 | 5.32
L3019 | -139 | 84 | R3019 | -151.59 | 78.47 | 12.59 | 5.53
L3020 | -151 | 56 | R3020 | -151.69 | 69.13 | 0.69 | 13.13
L3021 | -143 | 51 | R3021 | -151.18 | 58.28 | 8.18 | 7.28
L3022 | -133 | 30 | R3022 | -151.13 | 48.53 | 18.13 | 18.53
L3023 | -142 | -8 | R3023 | -151.36 | 39.24 | 9.36 | 47.24
L3024 | -152 | 14 | R3024 | -161.02 | 38.9 | 9.02 | 24.9
L3025 | -166 | 5 | R3025 | -170.72 | 38.74 | 4.72 | 33.74
L3026 | -181 | 3 | R3026 | -180.78 | 38.32 | 0.22 | 35.32
L3027 | -187 | 29 | R3027 | -190.54 | 38.21 | 3.54 | 9.21
L3028 | -190 | 18 | R3028 | -200.18 | 38.56 | 10.18 | 20.56
L3029 | -204 | -5 | R3029 | -210.69 | 38.53 | 6.69 | 43.53
L3030 | -212 | 36 | R3030 | -220.91 | 38.62 | 8.91 | 2.62
L3031 | -190 | 94 | R3031 | -191.92 | 77.6 | 1.92 | 16.4
[5 empty] | Mean value | 5.3684 | 15.8994 | cm
|  |  |  | Mean value total |  | 10.6339 |  | cm
|  |  |  | Standard deviation |  | 3.9735 | 12.8247 | cm
|  |  |  | Standard deviation total |  | 10.809 |  | cm
Number n of measured values |  |  | 62 |  | Messunsicherheit |  | 1.3727 | cm
Confidence level |  |  | 95% |  |  |  | 2.7592 | cm
t from table (Papula 2006, S.294) |  |  | 2.01 |  | Confidence intervall |  | 10.63 ± 2.76 | cm

## Scenario 4
Localino |  |  | Lasertracker |  |  | Dif_x | Dif_y
Measuring point | x [cm] | y [cm] | Measuring point | x [cm] | y [cm]
L4001 | -229 | 33 | R4001 | -228.95 | 40.25 | 0.05 | 7.25
L4002 | -229 | 43 | R4002 | -228.87 | 50.08 | 0.13 | 7.08
L4003 | -222 | 54 | R4003 | -228.94 | 59.53 | 6.94 | 5.53
L4004 | -225 | 61 | R4004 | -228.75 | 69.49 | 3.75 | 8.49
L4005 | -224 | 73 | R4005 | -228.45 | 79.57 | 4.45 | 6.57
L4006 | -222 | 82 | R4006 | -228.69 | 88.74 | 6.69 | 6.74
L4007 | -223 | 89 | R4007 | -228.89 | 98.54 | 5.89 | 9.54
L4008 | -231 | 106 | R4008 | -229.1 | 109.18 | 1.9 | 3.18
L4009 | -223 | 106 | R4009 | -219.35 | 109.28 | 3.65 | 3.28
L4010 | -213 | 102 | R4010 | -209.7 | 109.45 | 3.3 | 7.45
L4011 | -199 | 99 | R4011 | -199.57 | 109.25 | 0.57 | 10.25
L4012 | -189 | 94 | R4012 | -189.38 | 109.27 | 0.38 | 15.27
L4013 | -179 | 93 | R4013 | -179.14 | 109.14 | 0.14 | 16.14
L4014 | -175 | 95 | R4014 | -169.26 | 109.38 | 5.74 | 14.38
L4015 | -160 | 96 | R4015 | -159.26 | 109.7 | 0.74 | 13.7
L4016 | -150 | 91 | R4016 | -149.54 | 109.93 | 0.46 | 18.93
L4017 | -147 | 80 | R4017 | -149.49 | 100.4 | 2.49 | 20.4
L4018 | -149 | 75 | R4018 | -149.31 | 90.46 | 0.31 | 15.46
L4019 | -149 | 62 | R4019 | -151.15 | 80.56 | 2.15 | 18.56
L4020 | -151 | 55 | R4020 | -150.23 | 70.22 | 0.77 | 15.22
L4021 | -150 | 32 | R4021 | -149.28 | 60.32 | 0.72 | 28.32
L4022 | -145 | 28 | R4022 | -149.04 | 50.46 | 4.04 | 22.46
L4023 | -144 | 22 | R4023 | -149.6 | 40.52 | 5.6 | 18.52
L4024 | -155 | 24 | R4024 | -159.39 | 40.11 | 4.39 | 16.11
L4025 | -169 | 27 | R4025 | -169.1 | 39.96 | 0.1 | 12.96
L4026 | -175 | 20 | R4026 | -178.57 | 39.74 | 3.57 | 19.74
L4027 | -186 | 21 | R4027 | -188.66 | 39.65 | 2.66 | 18.65
L4028 | -200 | 24 | R4028 | -198.9 | 39.44 | 1.1 | 15.44
L4029 | -208 | 24 | R4029 | -208.69 | 39.98 | 0.69 | 15.98
L4030 | -218 | 28 | R4030 | -218.3 | 39.72 | 0.3 | 11.72
L4031 | -200 | 54 | R4031 | -189.95 | 79.29 | 10.05 | 25.29
[5 empty] | Mean value | 2.7006 | 13.8261 | cm
|  |  |  | Mean value total |  | 8.2634 |  | cm
|  |  |  | Standard deviation |  | 2.5756 | 6.3333 | cm
|  |  |  | Standard deviation total |  | 7.3784 |  | cm
Number n of measured values |  |  | 62 |  | Messunsicherheit |  | 0.93705 | cm
Confidence level |  |  | 95% |  |  |  | 1.8835 | cm
t from table (Papula 2006, S.294) |  |  | 2.01 |  | Confidence intervall |  | 8.26 ± 1.88 | cm